This document details the equipment resident in the Holland Computing Center (HCC) as of January 2015.

HCC has two primary locations directly interconnected by a pair of 10 Gbps fiber optic links (20 Gbps total). The 1800 sq. ft. HCC machine room at the Peter Kiewit Institute (PKI) in Omaha can provide up to 500 kVA in UPS and genset protected power, and 160 ton cooling. A 2200 sq. ft. second machine room in the Schorr Center at the University of Nebraska-Lincoln (UNL) can currently provide up to 100 ton cooling with up to 400 kVA of power. Both locations have 10 Gbps connections to Internet2 in addition to the pair of 10 Gpbs links connecting the machine rooms. MLXe routers, one in each location, provide both high bandwidth and Software Defined Networking (SDN) capability.

HCC’s resources at UNL include two distinct offerings: Sandhills and Red. Sandhills is a linux cluster dedicated to general campus usage with 5,632 compute cores interconnected by low-latency Infiniband networking. A recent extension provides a higher RAM/core ratio (3 GB/core, up to 192GB/node). 175 TB of Lustre storage is complemented by 38 TB of NFS storage and 3 TB of local scratch per node.

The largest machine on the Lincoln campus is Red, with 5,696 cores interconnected by a mixture of 1 Gb and 10 Gb ethernet. More importantly, Red serves up over 4.4 PB of storage using HDFS (Hadoop Distributed File System), an open source version of the file system Google uses. Red is integrated with the Open Science Grid (OSG), and serves as a major site for storage and analysis in the international high energy physics project known as CMS (Compact Muon Solenoid).

The largest HCC clusters, named Tusker and Crane, are located at PKI (Peter Kiewitt Institute) in Omaha. Tusker offers 6,784 cores interconnected with Mellanox QDR Infiniband along with 523TB of Lustre storage. Each compute node is an R815 server with at least 256 GB RAM and 4 Opteron 6272 (2.1 GHz) processors.

Crane debuted at 474 on the Top500 list with an HPL benchmark or 121.8 TeraFLOPS. Intel Xeon chips (8-core, 2.6 GHz) provide the processing, each core with 4 GB RAM available.  The cluster shares 1.5 PetaBytes of lustre storage.

Attic and Silo form a near line archive with 1 PB of usable storage.  Attic is located at PKI in Omaha, while Silo acts as a online backup located in Lincoln.  Both Attic and Silo are connected with 10Gbps network connections.

These resources are detailed further below.

1. HCC at UNL Resources:

1.1 Sandhills

- 62 4-socket Opteron 6376 (2.3 Ghz/192GB RAM/64 bit) (64 cores per node)

- 44 4-socket Opteron 6128 (2.0 Ghz/128GB RAM/64 bit) (32 cores per node)

- 2   4-socket Opteron 6168 (1.9 Ghz/256GB RAM/64 bit) (48 cores per node)

- 20 2-socket Opteron 2354 (2.2 GHz/16GB RAM/64 bit)   (8 cores per node)

- QLogic Infiniband (QDR)

- GbE (Foundry RX16)

- 38 TB shared storage (NFS) -> /home

- 175TB shared scratch storage (Lustre) -> /work

- 3TB local scratch

1.2 Red

- (USCMS Tier-2 resource, available opportunistically via the Open Science Grid)

- 36 2-socket Opteron 2354 (2.2 GHz/64 bit) (8 cores per node)

- 40 2-socket Xeon E5520 (2.27 GHz/64 bit) (16 cores per node)

- 60 2-socket Xeon E5530 (2.4GHz/64 bit) (16 cores per node)

- 36 2-socket Xeon X5650 (2.67GHz/64 bit) (24 cores per node)

- 48 2-socket Xeon E5-2660 (2.2GHz/64 bit) (32 cores per node)

- 28 2-socket Xeon E5-2650v2 (2.6GHz/64 bit) (32 cores per node)

- 16 2-socket Xeon E5-2640v3 (2.6GHz/64 bit) (32 cores per node)

- 4,400 TB HDFS storage (2,200 TB usable)

- Mix of 1GbE and 10GbE networking

1.3 Silo (backup mirror for Attic)

- 1 Mercury RM216 2U Rackmount Server 2 Xeon E5-2630 (2.6GHz/64 bit) (12 cores)

- 10 Mercury RM445J 4U Rackmount JBOD with 45x 4TB NL SAS Hard Disks

1.3 Network capacity

- 100 Gb/s to campus and Internet2 from UNL machine room

- 10 Gb/s to campus and Internet2 from PKI machine room

- 20 Gb/s dedicated (2x 10 Gb/s pair) between machine rooms

- Brocade MLXe-8 routers in each machine room

2. HCC at PKI Resources:

2.1 Tusker

- 106 PowerEdge R815 systems

  - 104x with 256 GB RAM, 2x with 512GB RAM

  - 4-socket Opteron 6272 Interlagos (64-core, 2.1GHz / 64Bit)

- Mellanox QDR Infiniband

- 523TB Lustre storage over Infiniband

2.2 Crane

- 452 Relion 2840e systems from Penguin

  - 452x with 64 GB RAM

  - 2-socket Intel Xeon E5-2670 (8-core, 2.6GHz / 64Bit)

- Intel QDR Infiniband

- 1500 TB Lustre storage over Infiniband

2.3 Attic

- 1 Mercury RM216 2U Rackmount Server 2 Xeon E5-2630 (2.6GHz/64 bit) (12 cores)

- 10 Mercury RM445J 4U Rackmount JBOD with 45x 4TB NL SAS Hard Disks